## Slide 1: Training in the use of Airborne Instrumentation, Data Collection, Archival and Processing PREPARED FOR PROGRAMME SAAGA ARMÉE DE L’AIR BURKINA FASO
Introduction to the 2-DC Probe
February-March 2012
Fargo, North Dakota - USA
David Delene, Ph.D.
Professor and Good Guy

## Slide 3
FSSP, 2D-C
Drizzle + Collision/Coalescence
Rain
2D-P, Radar

## Slide 4
2D-P, Radar
Rain + Water Content Profile
Precipitation
Balloon, Aircraft
Rain Gauge

## Slide 5
Percentage of particle losses based on the measured FSSP activity.
Glaciogenic Seeding
(Cloud Top)‏
  Find good updraft with lots of liquid water.

## Slide 6
2DC Optics
2.0 MW He-Ne Laser
Photodiode Array
Secondary
Zoom Lens
Objective
Mirror
Mirror

## Slide 7
Image Array Elements

## Slide 8
2-DC
Spinning
Disk

## Slide 9
2-DC Spinning Disk

## Slide 12
Images from 2-DC Probe

## Slide 13
Percentage of particle losses based on the measured FSSP activity.
Images from 2-DC Probe

## Slide 14
Conclusions
  It is important to conduct performance test on the 2DC using a spinning disk.
  It is important to clean the 2DC optics.

## Slide 15
Any Questions