## Slide 1
IMPACTS 2022 Cloud Probes – Status and Updates
David Delene, Mike Poellot,
Kendra Sand, Greg Sova,
and Trece Hopp
University of North Dakota
29 September 2021

## Slide 2
IMPACTS Cloud Probes
WCM – New 2022
PHIPS
2DS
RICE
Hotwire Boom
King
RICE
RICE
CDP
Nevzorvo
X
WCM
Hawkeye
HVPS3-B
HVPS3-A

## Slide 3
IMPACTS 2022 Cloud Probes
Measurement Size Range
1 um 10 um 100 um 1 mm 10 mm
PHIPS (3 um to 2 mm)
CPI (2.3 um to 1 mm)
2DS (10/50 um to 1.280/6.400 mm)
HVPS-3 (150 um to 19.2 mm)
King (wire) (LWC for 5 to 200 um)
WCM (wire) (LWC for 5 to 200 um)
Rosemount Ice Detector (RICE) (SLW)
Forward Scattering Probes
Imaging
Probes
Hot-wire Probes
Vibrating Cylinder
CDP (2.0-50.0 μm)
FCDP (2.0-50.0 μm)
Measurement
Method

## Slide 4
Instrument Status
All Probes Calibrated
WCM and CDP Test in UND Lab

## Slide 5
WCM - Total Water Content System
Science Engineering Associates (SEA) Model WCM-3000
Total Water
Liquid Water
140 °C Sensor Temperature
Air Speed (m/s)
0
100
200
300
Max Water Content (g/m3)
4
0
0
5
6
7
8
9
10