## Slide 1
IMPACTS 2020 Cloud Probes – Science
David Delene, Mike Poellot,
Kendra Sand, Greg Sova,
and Trece Hopp
University of North Dakota
28 September 2021

## Slide 2
IMPACTS 2020 Cloud Probes
PHIPS
2DS
RICE
Hotwire Boom
King
RICE
RICE
CDP
Nevzorvo
X
Hawkeye
HVPS3-B
HVPS3-B
FCDP
2D-S
CPI

## Slide 3
IMPACTS P3 - 2020/01/25

## Slide 4
IMPACTS P3 - 2020/01/25

## Slide 5
IMPACTS P3 - 2020/01/25

## Slide 6
Rosemount Icing (RICE) Detector During IMPACTS 2020

## Slide 7
Rosemount Icing (RICE) Detector During IMPACTS 2020

## Slide 8
Conclusions
The FCDP has higher number of droplets and larger sized droplets than the CDP.
The RICE Probe derived SLWC product is a valid product when operating at temperatures colder than -3 ℃ and with a pitch angle less than 3°.